# Flood Protocol

Contents

Purpose	1

Scope	1

Responsibilities	1

Supervisors	1

Workers	1

Equipment Needed	2

Procedure	2

# Purpose

<<<< This SOP is left in DOCX format so that you may edit it for your own laboratory>>>

The purpose of this SOP is to lay out the responsibilities and procedures required for the flood protocol response.

# Scope

This SOP applies to all laboratory occupants and their supervisors.

# Responsibilities

## Supervisors

Supervisors are responsible for:

- Reviewing this SOP on a regular basis. Review is to consider and mitigate the risks of spill, loss of containment and exposure or other harm. Refer to Performing Risk Assessments SOP.

- Ensuring all necessary contact information is up to date.

- Ensuring that all workers under their supervision are trained on and are proficient in performing the steps of this SOP.

## Workers

Workers are responsible for:

- Following this SOP as approved by their supervisor

- Reporting any broken equipment immediately to their supervisor

# Equipment Needed

- Emergency Guidebook http://security.mcmaster.ca/campus_emergencies_guide.html

- Your building’s maintenance provider contact information.

- Your building’s security provider contact information.

- Knowledge of main water-shutoffs for your laboratory sinks, water purification equipment and water supplied cooling equipment.

# Procedure

- Upon discovery of a flood or flooding, take immediate steps to stop the flow of water if possible.

- Take immediate steps to stop the spread of water if possible, for example by throwing down paper towels at the edges of the flood.

- Take immediate steps to prevent release of biologicals or other hazardous materials.

- Report flood to your supervisor immediately.

- Call your building’s maintenance provider immediately and report the situation.

- Call your building’s security provider immediately and report the situation.

- Take steps to protect equipment and property, for example by taking items up off the floor or by unplugging live equipment such as vacuum pumps that are on the floor.

- Report the flood incident per RMM1000.