# Post Emergency Biological Check

Contents

Purpose	1

Scope	1

Responsibilities	1

Supervisors	1

Workers	2

Equipment Needed	2

Emergencies	2

Post Emergency Biological Check	2

Theft Response	2

Release Response	2

# Purpose

<<<< This SOP is left in DOCX format so that you may edit it for your own laboratory>>>

The purpose of this SOP is to lay out the responsibilities and procedures required for the biosecurity of biologicals post-emergency.

# Scope

This SOP applies to all persons prescribing and requiring to use biologicals.

# Responsibilities

## Supervisors

Supervisors are responsible for:

- Reviewing this SOP on a regular basis. Review is to consider and mitigate the risks of spill, loss of containment and exposure or other harm. Refer to Performing Risk Assessments SOP.

- Ensuring the biological storage equipment is in good working order.

- Ensuring that all workers under their supervision are trained on and are proficient in performing the steps of this SOP.

## Workers

Workers are responsible for:

- Following this SOP as approved by their supervisor.

- Reporting any broken equipment immediately to their supervisor.

# Equipment Needed

- Biological inventory.

# Emergencies

- This SOP is referring to any emergency where evacuation or movement of staff or public may occur.

- This SOP includes any emergency were a secure location may have been left unsecure at the time of the emergency.

# Post Emergency Biological Check

- After an emergency situation, inspect all storage units which contain biologicals both inside and outside of the containment zone.

- Fridges, freezers, liquid nitrogen dewars, cold rooms, warm rooms and incubators.

- Look for breaches in locking mechanism.

- Look for disordered items inside the unit.

- Look for any indication that the unit has been entered by unauthorized persons.

- If a theft is suspected, conduct an inventory check to determine if items were stolen and how much was stolen.

- If damage to the storage unit is evident, determine if a biological release may have occurred.

# Theft Response

- If theft of a biological is determined take immediate action to re-secure the storage unit or the room.

- Report the theft to your supervisor immediately.

- Report the theft to the biological safety officer or the biosafety office immediately.

- Complete an incident report per RMM1000.

# Release Response

- If a release of biological is determined, follow your laboratory’s spill response protocol.

- Complete an incident report per RMM1000.