# 10% Neutral Buffered Formalin

Contents

Purpose	1

Scope	1

Responsibilities	1

Supervisors	1

Workers	2

Equipment Needed	2

Preparing Vytac Waste Bottle	2

Fixing Cells in a Dish	2

Re-suspending Cells in Formalin	3

Fixing Tissues in Formalin	3

Post-Fixation Dissection of Tissues Fixed in Formalin for FFPE	3

Training	4

# Purpose

<<<< This SOP is left in DOCX format so that you may edit it for your own laboratory and your own procedures using 10% neutral buffered formalin>>>

The purpose of this SOP is to lay out the responsibilities, equipment and procedures required for the use of 10% neutral buffered formalin.

# Scope

This SOP applies to all persons prescribing and requiring to use 10% neutral buffered formalin.

# Responsibilities

## Supervisors

Supervisors are responsible for:

- Reviewing this SOP on a regular basis. Review is to consider and mitigate the risks of spill, loss of containment and exposure or other harm. Refer to Performing Risk Assessments SOP.

- Ensuring the equipment is in good working order.

- Ensuring all persons are trained on the Safety Data Sheet and are aware of the risks related to the use of 10% neutral buffered formalin.

- Ensuring that all workers under their supervision are trained on and are proficient in performing the steps of this SOP.

## Workers

Workers are responsible for:

- Following this SOP as approved by their supervisor

- Reporting any broken equipment or spills immediately to their supervisor.

# Equipment Needed

- Vytac® https://www.thermofisher.com/order/catalog/product/5401TS

- Rinsed, plastic media bottle for use as a waste bottle

- Funnel

- Filter paper or blotting paper

# Preparing Vytac Waste Bottle

- Vytac requires a 1/5 dilution of Vytac:Formalin

- For a 500ml bottle, use a black sharpie to mark 400ml and 500ml.

- Label 400ml line as FORMALIN

- Label 500ml line as VYTAC.

- Collect waste formalin in a fume hood until it reaches 400 ml.

- Fill the bottle to the 500ml mark with Vytac.

- Close bottle and mix.

- Allow to stand per Vytac instructions.

- Ensure disposed liquid is pre-filtered using a funnel and filter or blotting paper.

- Dispose neutralized, filtered solution down sink per Vytac instructions.

- Filter should be left to dry in fume hood and then discarded in biohazard waste due to visible tissue bits and residue.

# Fixing Cells in a Dish

- Calculate the amount of 10% neutral buffered formalin required.

- In a fume hood, decant that amount into a screw cap 50ml falcon tube.

- Small amounts of chemicals are allowable in a BSC. The key is to keep the containers closed all times.

- Bring falcon tubes to BSC and spray-in per lab SOPs.

- Aspirate and wash cells per lab SOPs.

- Loosen the lid of 50ml tube containing formalin.

- Apply required amount of formalin to each well or dish. Label dishes with ‘10% NBF’.

- Re-cap formalin tube.

- Bring dishes to fume hood.

- Carry out rest of procedure in a fume hood.

- Decant extra or waste formalin in Vytac waste bottle.

# Re-suspending Cells in Formalin

- Calculate the amount of formalin required.

- In a fume hood, decant the required amount into 50ml falcon tubes.

- Bring falcon tubes to BSC.

- Prepare cell suspension per lab experimental protocols.

- Spin and resuspend cells in formalin per lab experimental protocols.

- Fix cells per lab experimental protocols.

- Spin and resuspend cells in other buffer per lab experimental protocols.

- Collect extra and waste formalin in Vytac waste bottle.

# Fixing Tissues in Formalin

- Calculate the minimal amount of formalin required to fix each sample.

- In a fume hood, decant the required amount into appropriate sized, leak-proof tubes.

- Bring tubes to tissue-harvesting location.

- Before each harvest, open the appropriate tube, but keep cap on loosely.

- Place each sample in a separate tube, pre-rinsing tissue with PBS if necessary.

- Close tube tightly.

- Fix tissues in formalin according to lab experimental protocols.

- Ensure each sample contains the notation ‘10% NBF’ on tube.

# Post-Fixation Dissection of Tissues Fixed in Formalin for FFPE

- Perform if allowable for downstream applications.

- Bring tissue samples to fume hood.

- Decant formalin from each tissue sample into Vytac waste bottle.

- Wash each tissue sample with sterile PBS overnight.

- Decant PBS wash into Vytac waste bottle.

- Repeat wash and decant if necessary.

- Dissect tissues in fume hood into pre-labelled cassettes per experimental protocols.

- Collect waste tissue bits into a plastic bag. Dispose in biohazard waste.

- Place cassettes into 70% ethanol per experimental protocols.

- Submit for histology per department procedures.

# Training

- Each lab member is to read, agree and sign off on this SOP.

- Upon revision or re-write, this SOP is to be re-circulated and re-signed by all lab members.