# AUTOCLAVE AUDIT CHECKLIST

| DATE: | MAKE: |
| --- | --- |
| BUILDING: | MODEL: |
| ROOM: | SERIAL NUMBER: |
| DEPARTMENT: | RESPONSIBLE PERSON: |
|  | AUDITOR: |

| ACTIVITY | YES | NO | N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| Access restricted to authorized personnel? |  |  |  |  |
| Biohazard sign posted at point of entry? |  |  |  |  |
| Emergency contact and phone number posted? |  |  |  |  |
| Spill kit available? |  |  |  |  |
| Annual TSSA inspection certificate posted, if applicable? Name of Inspector: Employed By: |  |  |  |  |
| Calibration report posted? |  |  |  |  |
| Calibration sticker affixed to unit? |  |  |  |  |
| Vessel stamping accessible? |  |  |  |  |
| Safety valve stamping accessible? |  |  |  |  |
| Cycle Log or Pressure and Temperature indicator on the autoclave is operational? |  |  |  |  |
| Printer tape present and printer ink legible? |  |  |  |  |
| Correct date and time present on autoclave? |  |  |  |  |

AUTOCLAVE AUDIT CHECKLIST CONT’D:

| ACTIVITY | YES | NO | N/A | COMMENTS |
| --- | --- | --- | --- | --- |
| Log available? |  |  |  |  |
| Log maintained? |  |  |  |  |
| Biological Indicator test log available and maintained? |  |  |  |  |
| Load probe present? If so, has it been calibrated? |  |  |  |  |
| Data logger available? If so, has it been calibrated (NIST)? |  |  |  |  |
| Autoclave performance log available? |  |  |  |  |
| Autoclave performance log maintained? |  |  |  |  |
| Last service report available? Date (dd/mm/yyyy): |  |  |  |  |
| Preventative maintenance log available? |  |  |  |  |
| Preventative maintenance log maintained? |  |  |  |  |
| Historical logs available? |  |  |  |  |
| Historical logs maintained? |  |  |  |  |
| Records medium and storage environment are appropriate? |  |  |  |  |
| Standard Operating Procedures (SOPs) available and followed? |  |  |  |  |
| Housekeeping; work area clean and well-kept? |  |  |  |  |
| PPE available and worn for loading / unloading? |  |  |  |  |
| Chamber trap strainer present and clean? |  |  |  |  |
| Room ventilation (supply and exhaust) present? |  |  |  |  |
| Type(s) of waste container(s) present. |  |  |  |  |
| Waste disposal – waste container available / not overflowing? |  |  |  |  |
| Documentation records for trained personnel kept and maintained? |  |  |  |  |

OTHER COMMENTS:

McMaster Biosafety Office Autoclave link:  https://biosafety.mcmaster.ca/biosafety_autoclaves.htm